Product Catalog- True Lightning Protection

Engineered for Safety. Quality that is True.

Dissipating Air Terminals

Dissipating air terminals employ clusters of sharp metallic points to generate a small

corona discharge, which gradually releases electrical charge into the atmosphere. This

action decreases the electrostatic potential of the tank or structure, thereby mitigating the

probability of an upward streamer forming from the protected structure. This technology is

derived from aviation and NASA research and is often referred to as “Charge Transfer” or

“Streamer Delaying” technology.   Our UL listed components and terminals are most

commonly utilized on oil storage tanks, gas plants, refineries, chemical plants, and salt

water disposal wells.

Cerberus Dissipators

A Cerberus multi-head dissipator constitutes an assembly of multiple dissipating heads (3

or more) configured to promote added dissipation points on taller structures and improve

overall zone of protection for the surrounding area. This multi-head design is utilized on

structures over 35ft in height, offering protection to communication towers, cell towers,

light poles, large tanks, and various other structures.

Wooden Light Pole Kits (for Lightning Protection Applications)

A wooden light pole furnishes an elevated, non-conductive mounting platform for

lightning protection when a suitable structural attachment point is unavailable.

The use of wood reduces the potential for side-flashing while supporting lightning rods

and/or dissipating terminals at an appropriate protective height to meet or exceed 10

inches above the protected structure.

Windsock Kits with Lightning Protection

Dissipating windsock

Windsock poles frequently serve a dual purpose in oilfield environments. Given that they

are typically situated higher than surrounding equipment, they can support lightning rods

or dissipation terminals, establishing a dissipation point and safely routes lightning energy

into a grounding system. This kit, when installed properly will replace company

installed windsock poles that provide an additional safety component while providing wind

direction in the event of a gas or h2s leak and/or release.

Saddle Bases for Lightning Protection

Saddle bases are curved mounting brackets used to attach Air Terminals to round surfaces.

• Upper Saddle Base: Mounts to the top of a pipe or rail over 4 inches in diameter

• Lower Saddle Base: Mounts to the side or underside of a pipe over 4 inches in diameter.

• Lower and Upper Saddle Base with Plate: Includes a reinforcement plate for stability.

• With Hose Clamp: Uses a stainless-steel hose clamp for even, non-damaging pressure.

• Without Hose Clamp (Bolt-On): Uses bolts or screws for permanent, heavy-duty

installation.

Bonding Straps

Braided bonding straps for thief hatches

-Bonding strap for Steel Tanks

Although steel tanks possess electrical continuity, the presence of gaskets or coatings

can compromise that electrical bond. A bonding strap ensures the equipotential status

from the thief hatch to the collar and the tank shell, therefore reducing the risk of arcing

and subsequent ignition.

-Bonding strap for Fiberglass Tanks

Fiberglass tanks are less conductive and pose a problem because of their static prone

design and material make up. A bonding strap provides the necessary electrical connection

from the thief hatch to the collar and to the Bonding lug and grounded LP system- reducing

the risk of arcing and subsequent ignition.

Weighted Whips  (Equi-potential in-tank bonding appliance)

Weighted whips are a stainless-steel flexible braided conductor featuring a carbon steel

or stainless weight attached at the base of the appliance. This design facilitates continuous

electrical potential between the tank’s shell, the stored product, and the lightning

protection and grounding system, thereby reducing the potential for internal arcing that

may result from potential differences during electrostatic activity or lightning attachment to

a nearby facility.